## Sheet1
PROJECT : EP-29076 - 25 Hours Heimat PLOT NO. 3450385 @ Burj-Khalifa Dist, DUBAI, UAE
CLIENT | M/s. EAST & WEST
CONSULTANT | M/s. LACASA
MEP CONTRACTOR | M/s. AL ARABIA ELECTROMECHANICAL LLC
FIRE ALARM SYSTEM SUPPLIER | M/s. AL ARABIA FOR SAFETY & SECURITY LLC
FIRE ALARM SYSTEM MANUFACTURER | M/s. EDWARDS System Technology
SUBMITTAL TITLE: | FIRE ALARM, VOICE EVACUATION & FIRE TELEPHONE SYSTEM
DATE: | 06.01.2026
SL. | MODEL | DESCRIPTION | MADE IN | SHIPPED FROM
A | GRAPHIC COMMAND CENTRE & SYSTEM PRINTER
| FW-CGSUL | Colour Graphics Software PIN Letter, Full 4 Quadrant display graphics with common Controls. | USA | NETHERLANDS
| Compaq | PC-Hardware | LOCAL
| PT-1S-220 | System Printer 220V | THAILAND | NETHERLAND
B | FIRE ALARM CONTROL PANEL WITH SMOKE CONTROL SWITCHES AND ACCESSORIES
| EST4 | Intelligent Fire Alarm Control Panel complete with Power Supply/Charger, sealed lead acid maintenance free rechargeable batteries to power the system for 24hrs standby and 30min in alarm condition | USA/MEXICO/CANADA | NETHERLAND
| PANEL ACCESSORIES | 4-CPU, 4-PPS/M, 4-LCDLE, 4-24L24S, 4- FWAL4, F-FWAL-CAT, 4-BRKT-CS, 4-NET- TP, 4-USBHUB, 4-COMREL, 3-SDDC2, 3- ZA20B, 4-AUDTELS, 4-MIC, 4-FT, 3-CHAS7, 4-CAB24DL, 4-FIL,3-LRMF, 3-CAB14B,4-CAB24D,3-CAB-7B,4-CAB16D | USA/MEXICO/CANADA | NETHERLAND
| BC-1 | BATTERY CABINET | CANADA | NETHERLAND
| 12V @ 65Ah / 42Ah | Sealed Lead Acid Battery, 12 V @ 65AH, 42Ah | VITNAM
C | REPEATER PANEL
| 4-2ANN | Remote LCD Command Module Annunciator. | USA | NETHERLAND
| 4-2ANNMT | Semi- flush wall box | USA | NETHERLAND
D | BMS COMMUNICATION
| FSB-PC4 | EST4 to BMS Communication Bridge | USA | NETHERLAND
E | AMPLIFIER
| APS6A/230 | Auxiliary power supply, 6Amps, 230V | CHINA | NETHERLAND
| SIGA-AA50 | Intelligent Audio Amplifiers | MEXICO | NETHERLAND
| 12V 7Ah | Battery, 12 V @ 7AH | VITNAM
F | BOOSTER POWER SUPPLY
| BPS10A/230 | 10 Amp power supply, 220 VAC | CHINA | NETHERLAND
| SIGA-CT2 | Dual Input Module | MEXICO | NETHERLAND
| 12V 7Ah | Battery, 12 V @ 7AH | VITNAM
G | INITIATING DEVICES
| SIGA-OSD-FCN | Intelligent Photoelectric Smoke Detector | CHINA | NETHERLAND
| SIGA-HRD-FCN | Intelligent Fixed Temperature / Rate of rise Heat detector | CHINA | NETHERLAND
| SIGA-OSHD-FCN | Intelligent 3D Multisensor Detector Photoelectric, Heat | CHINA | NETHERLAND
| SIGA-SB | Standard Detector Base | CHINA | NETHERLAND
| SIGA-IB | Detector Base with Isolator | CHINA | NETHERLAND
| SIGA-LPS | Audible (Sounder) Base | CHINA | NETHERLAND
| SIGA-278 | Manual pull station | MEXICO | NETHERLAND
| STI-1230/STI-3002 | Stopper/ Gasket | USA | NETHERLAND
H | SYSTEM MODULES
| SIGA-CT2 | Dual Input Module | MEXICO | NETHERLAND
| SIGA-CR | Control Relay Module | MEXICO | NETHERLAND
| SIGA-CC1 | Single Input riser Module | MEXICO | NETHERLAND
| SIGA-CC2A | Dual Input riser Module | MEXICO | NETHERLAND
I | NOTIFICATION APPLIANCES
| G4SRN | Wall Mounted Speaker (70V), Red, No marking | CHINA | NETHERLAND
| 202-7A-TW | Ceiling Strobe, WHITE | CHINA | NETHERLAND
| EST-S186C | Ceiling Mounted Speaker | CHINA | NETHERLAND
| 757-XA-SS70 | Speaker/strobe –(757-XA-SS70) | CHINA | NETHERLAND
| 757A-WB | Weatherproof Box, Cast – White | CHINA | NETHERLAND
J | FIRE JACK TELEPHONE
| 6830-3 | Portable(plug-in) Telephone Handset | MEXICO | NETHERLAND
| 6833-4 | Four-state Telephone Handset Assembly – one gang stainless-steel faceplate | CHINA | NETHERLAND
| TCS-6 | Telephone Handset Storage panel, stores up to 6 portable telephones, flush mounted | USA | NETHERLAND
K | DISABLED TOILET ALARM SYSTEM
| 6538-G5 | Call for Assistant Kit | CHINA | NETHERLAND
L | BEAM SMOKE DETECTOR
| EC3000-103 | End to End Beam Detector | CHINA | NETHERLAND
M | BACK BOXES (LOCAL)
|  | 2”x4” GI Concealed back box, single gang | LOCAL
|  | 4”x4” GI Concealed back box, double gang | LOCAL
|  | Surface mount box – Indoor, RED, single gang | LOCAL
|  | Surface mount box – Indoor, RED, double gang | LOCAL